## Sheet1
| Temp in F about 1 minute after heater shut off. Units are centers of ~8inch boards that form ceiling. | 2nd round of temperature measurements. Probably 2 or 3 minutes after starting.
1 next to bathroom wall | 107 | 98.6
2 | 110 | 102.1
3 | 113 | 104.1
4 | 107 | 99.9
5 | 103 | 97.2
6 | 100 | 94.8
7 | 96 | 92.1
8 | 95 | 90.2
9 | 93.5 | 89.7
10 | 93.2 | 89.6
11 | 92.3 | 88.8
top of open doorway, about 6 feet above floor | 94.2 | 91
1 Beginning of kitchen | 90.4 | 86.4
2 | 91 | 86.7
3 | 88.5 | 84.3
4 | 87 | 84.4
5 | 84.3 | 82.3
6 | 83.3 | 80.6
7 |  | 80.5
8 |  | 78.5
Next day: Heater off at Sun Feb 12 13:18:05 +- 20 seconds
Heater on: Sun Feb 12 18:55:10 +- 10 sec
Heater on: Sun Feb 12 20:57:35 PST 2012
Noticed heater was quieter (and off) at Sun Feb 12 21:14:45 PST 2012. Don't know how long it was off.
Heater on: Sun Feb 12 22:32:35 PST 2012
still on: Sun Feb 12 22:39:05 PST 2012
still on: Sun Feb 12 22:44:06 PST 2012
off and has been off for a bit at: Sun Feb 12 22:53:26 PST 2012
Showered about noon
Reset kill-a-watt on Mon Feb 13 19:47:21 PST 2012
Raised thermostat to ~75 at Mon Feb 13 19:55:46 PST 2012. Humidity makes it feel colder and cold is making Rachel more sore.
Fixed bug that kept fan off at Mon Feb 13 20:22:18 PST 2012
Fixed another bug Mon Feb 13 20:59:13 PST 2012
Heater on Mon Feb 13 20:59:13 PST 2012
Lowered thermostate to ~72 at Tue Feb 14 14:14:54 PST 2012. Rain has dried and gone away.
Heater on Tue Feb 14 22:21:24 PST 2012
Heater off Thu Feb 16 00:20:18 PST 2012
Changed fan angle late night feb 18. Returned fan to previous angle around noon feb 19.
Disconnected XXXL capacitor Sun Feb 19 around 7:20
Opened window Feb 22 about 11:35AM